# Equipment Register

Alder Creek Field Station · reviewed March 2026

Every instrument on this list is checked against its interval before a survey and signed for on return. An instrument past its interval does not go out.

| Instrument | Asset | Last checked | Interval |
| --- | --- | --- | --- |
| Multiparameter probe | MP-4471 | Mar 2026 | Annual |
| Spare probe | MP-2210 | Nov 2025 | Annual |
| Buffer standards pH 4 | - | Jan 2026 | On opening |
| Buffer standards pH 7 | - | Jan 2026 | On opening |
| Gauge board camera | GB-08 | Aug 2025 | Two-yearly |
| Field radio | FR-13 | Feb 2026 | Annual |

# Ordered

A replacement gauge board for AC-05. Quoted six weeks. The existing board stays readable in the meantime and is photographed on every visit.